## Sheet1
Commands To SpineTracker
Command | Arguments | Example | Purpose
AcquisitionDone |  |  | sent after acquisition of single image stack complete
CurrentPosition | x, y, z | CurrentPosition,2,0,-3.2 | sent after request for current position
FovXYum | x,y | FovXYum,250,250 | sent to establish Field of View size in µm (when completely zoomed out)
IntensityFilePath | filepath | IntensityFilePath,c:/imaging/image1.tiff | Sent when intensity file path is requested
IntensitySaving | 1 or 0 | IntensitySaving,1 | Sent when intensity saving is turned on/off
ResolutionXY | x,y | ResolutionXY,512,512 | sent when X,Y Imaging Resolution is requested
ScanVoltageMultiplier | x,y | ScanVoltageMultiplier,5,15 | sent when scan voltage multiplier is requested
ScanVoltageRangeReference | x,y | ScanVoltageRangeReference,5,15 | sent when scan voltage range reference is requested
ScanVoltageXY | x,y | ScanVoltageXY,0.02,1.2 | Sent when new galvo scanning voltage is set
StageMoveDone | x, y, z | StageMoveDone,1,34.2,-2 | sent after movement to new coordinates is complete
UncagingDone | X,Y |  | sent after uncaging is finished
Zoom | int | Zoom,25 | sent when new zoom is set
ZSliceNum | int | ZSliceNum,10 | sent when number of Z slices is requested to change
CustomCommandReceived
UncagingLocation | ROI_x_pixels, ROI_y_pixels |  | sent as an answer to SetUncagingLocation
Commands To Imaging Program |  |  | Expected Answer | Purpose
GetCurrentPosition |  |  | CurrentPosition | Request for current position to be sent
GetFOVXY |  |  | FovXYum | Request for FOV size
GetIntensityFilePath |  |  | IntensityFilePath | GetIntensityFilePath
GetResolutionXY |  |  | ResolutionXY | Get X,Y Imaging Resolution
GetScanVoltageMultiplier |  |  | ScanVoltageMultiplier | Request Galvo Scan Voltage Multiplier
GetScanVoltageRangeReference |  |  | ScanVoltageRangeReference | Request Galvo Scan Voltage Range Reference
GetScanVoltageXY |  |  | ScanVoltageXY | Request Galvo Scanning Position
SetIntensitySaving | 1 or 0 | SetIntensitySaving,1 | IntensitySaving | Turn intensity file saving on/off
SetMotorPosition | x,y,z | SetMotorPosition,12,89.2,0 | StageMoveDone | Move to new stage position
SetResolutionXY | x,y | SetResolutionXY,128,128 | ResolutionXY | Set X,Y Imaging Resolution
SetScanVoltageXY | x,y | setScanVoltageXY,0.2,-4 | ScanVoltageXY | Set Galvo Scanning Position
SetZoom | int | SetZoom,20 | Zoom | Set Zoom to value
SetZSliceNum | int | SetZSliceNum,10 | ZSliceNum | Set Number of Z Slices
StartGrab |  |  | AcquisitionDone | Grab a stack once
StartUncaging | ROI_x_pixels, ROI_y_pixels | StartUncaging,37,42 | UncagingDone | do uncaging at specific position signified by pixel value in image
CustomCommand | string | CustomCommand,page_acq | CustomCommandReceived | send a custom command to imaging program immediately before executing a step
SetUncagingLocation | ROI_x_pixels, ROI_y_pixels | SetUncagingLocation,37,42 | UncagingLocation | sends an uncaging location without actually uncaging